# End-To-End Testing of OIS samples at the OSHA Technical Center using LabWare LIMS

# Version History

| Version | Date | Author | Changelog |
| --- | --- | --- | --- |
| 0 | 19 May 2026 | Trevyn Hey | Initial draft |

Contents

Version History	1

Purpose	5

File Transfer Process	6

Shell Script Maintenance	6

Inbound OIS Request Files	6

Instrument Data Files	6

Project and Sample Creation	6

XML Parsing and Validation	6

Schema location	6

Staging Tables	6

Investigations	6

Project Template	6

Sample Template	6

Test Assignment	6

Occupational Chemical Database (OCD)	6

Sample Receiving	8

Sample Receiving Workflow	8

Seal Status	8

Label Printing	8

Batch Creation	8

Standard Inventory	8

Quality Control Spiked Media	8

Stock Assignment	8

Batch Verification	8

Batch Testing	8

Data Parsing	8

Empower Interactions	8

Batch Review	9

Project Closure and OIS Reporting	9

Instrument Configuration	9

Analysis Configuration	9

Required Configuration	9

T_Analysis_Method	9

Analysis Limits	10

Reporting Limits	10

Variations	10

Component Variations	11

Methods	11

Data Parsing	11

Aliquoting	11

Components	11

Reportable Results	12

Recovery	12

Empower	12

Batch Configuration	12

Required Configuration	12

Batch Tests	14

Multiple Methods	14

Manual Data Entry	15

Data File Batches	15

Empower Batches	15

Instrument Configuration	15

Empower	15

LabWare Empower Interface	16

Specific Analysis Configuration Notes	17

ICP_OES	17

SILICA_XRD	17

GRAV_PREWEIGH	17

GRAV_POSTWEIGH	17

# Purpose

This document serves as a technical guide to the configuration of LabWare LIMS for the purpose of testing field samples that are received from the OIS system at the OSHA Technical Center (OTC). The end-to-end process involves digesting a testing request file, creating and managing samples with associated analyses, reporting results, and generating a response file to be sent to OIS.

This document is not intended to replace the courses LIMS Admin 1, LIMS Admin 2, or LIMS Basic, and information provided by those trainings may be necessary to completely configure objects related to this document.

# File Transfer Process

LabWare handles two main filetypes – inbound OIS requests and instrument data files. The mechanism for receiving these is the same – Secure File Transfer Protocol (SFTP). This is not a native LabWare function. Instead, windows shell scripts are executed by a LabWare background instance. The location of these scripts and the file structure of the server differs, by application.

## Shell Script Maintenance

Each script comes in 2 parts – a .bat and a .txt file.

## Inbound OIS Request Files

## Instrument Data Files

# Project and Sample Creation

## XML Parsing and Validation

### Schema location

### Staging Tables

### Investigations

## Project Template

## Sample Template

## Test Assignment

Analyses are assigned to samples based on a combination of test media and requested analyte codes. These relationships are stored in the Occupational Chemical Database (OCD).

In order for tests to be assigned, the inbound sample must have a matching record on the X_OCD_MONITORING table for Analyte Code and Media, and the analysis must have an Analysis Variation with the corresponding method assigned.

### Occupational Chemical Database (OCD)

Originally a document stored on the DOL Intranet, the OCD has been parsed into four tables in LabWare:

- X_OCD_STANDARD (Standards)

  - Holds the name of the material groups that there are testing standards for, as well as associated hazard information

  - Acts as a parent table for the remaining OCD tables

- X_OCD_MONITORING (Monitoring Methods)

  - Creates the link between the X_ANALYTE_CODE table and the X_OCD_STANDARD table

  - Contains testing methods for analyte codes based on sample media

- X_OCD_PHYS_PROP (Physical Properties)

  - Contains the physical properties of a standard

- X_OCD_LITERATURE (Literature References)

  - Lists the literature reference based on source for a standard

#### Analyte Code

Alternatively called “substance codes” or “IMIS codes,” these are unique identifiers that pair standards to test methods. Each standard may have multiple analyte codes, but each analyte code is under only one standard. The primary key for analyte codes is a 4-character alphanumeric string stored on the X_ANALYTE_CODE table.

#### Sample Types

There are three distinct categories of sample: Air, Wipe, and Bulk. These correspond to different entries in the Monitoring Methods table

#### Method

#### Media

# Sample Receiving

## Sample Receiving Workflow

## Seal Status

## Label Printing

# Batch Creation

## Standard Inventory

### Quality Control Spiked Media

#### Like media substitution

#### Multi-media stock

## Stock Assignment

## Batch Verification

# Batch Testing

After the batch has been created and the pre-analysis results entered (including instruments, stocks, and standards used), results can be entered. If you are parsing in a data file or using Empower, all non-optional Batch results must be entered before testing can proceed.

## Data Parsing

Triggered through a batch menu routine Batch -> Batch Process Results (MNU_BM_SLTC_DATA_PARSE), this routine looks in the instrument file directory for the assigned instrument (matching the Batch Result instrument with Alias Name equal to the Instrument Group on the assigned analysis). It prompts the user to select a file to parse, performs any validation necessary on the batch and the file, then prompts the user again to confirm data import.

## Empower Interactions

# Batch Review

# Project Closure and OIS Reporting

# Instrument Configuration

Due to the complex nature of method and instrument interactions, some additional configuration is required on the INSTRUMENTS table.

- Ensure that the Instrument group is set correctly. This should match the Analysis instrument group (if used for Empower or file parsing) and the Batch Result X_STOCK field if connecting an instrument to a batch

- The Instrument Params -> Parameter 1 Name should be “NAME” and Parameter 1 Value should be the lab name for the instrument. This parameter can come into play when parsing data, if needed, for instrument specific configuration.

- Parameter 2 Name/Value are open for use with analysis-specific configuration, as in the case of ICP-OES and GC.

# Analysis Configuration

## Required Configuration

- Instruments -> Inst Group must be set to the group of the instrument the data file is coming from (matching the group on the Batch template instrument result) if parsing data in from a File or from Empower

- Instruments -> Batch Link must match the Batch template

- Other Fields -> Attributes 1-5 configured as necessary

- Other Fields -> Destructive Boolean set to True (for most analyses that conduct destructive testing)

  - This may prevent additional analyses from being assigned at sample creation

- Configure -> Analysis Method

## T_Analysis_Method

This table shares a name with the child table of Analysis, but is not the same table. All methods must have a record in the T_ANALYSIS_METHOD table before variations and methods can be linked to it on the ANALYSIS table.

## Analysis Limits

Analysis Limits do not get checked inherently. You may set them up in the Analysis Limits table but will have to apply them during result calculations. See CALC_ICP_FINAL for an example where the Analysis Limits table is referenced and used to set a reporting limit.

## Reporting Limits

Every raw instrument result has a corresponding Lower Reporting Limit that is set based on measured Reporting Limit Spiked Media samples annually in a separate process. That reporting limit, stored on the Analysis Limits table (ANALYSIS_LIMITS.MIN_LIMIT) should be used to generate a reporting limit on all final results and stored in the RESULT.X_REPORTING_LIMIT field. Generally, all actions that are performed on the raw result to transform it to the final result should be carried out on the Lower Reporting Limit value in parallel. A format calculation (in most cases, the calc ICP_LOWER_LIMIT is used) will check the RESULT.ENTRY value against the RESULT.X_REPORTING_LIMIT value for a final result and, if necessary, act as a lower bracket (reporting “<RL” in the case the final value is too low to be reported).

## Variations

Every analytical method will have one or more Analysis Variation configured.

Because test components are configured at the variation level, multiple variations may be necessary for each method. In each case, the variation must be named {Osha method}_{Variation type} to work with the automated analysis assignments.

- Field Sample variations

  - Separate variations for AIR, WIPE, and BULK samples

  - Example: OSHA_5000_AIR

- Standard variations

  - Separate variations for QC and QCSM samples

  - Example: OSHA_1023_QCSM

- Aliquot variations

  - If your samples require aliquoting, a separate method aliquot variation must be configured

  - Example: OSHA_5001_ALIQUOT

Each variation must be configured with the applicable Sample Type values for field samples. For QC variations, the sample type field is left empty. The analytical method should also be linked in the Variations properties.

### Component Variations

Each variation should be assigned all of the necessary result components, based on the sample type. For example, BULK type variations will need a sample weight component while AIR or QC type variations do not. All variation components should be marked as DISPLAYED = “T” and may be marked as OPTIONAL = “F” depending on the needs of the analysis. Ensure that final results are marked as REPORTABLE = “T” at this point.

## Methods

The Analysis Methods table links variations and methods for testing. This table must be populated for every Method-Variation pair, as it is used for test assignment at sample login.

## Data Parsing

For many analyses, data is parsed in from an instrument-generated file. The subroutine that handles parsing is configured to import up to 5 Attributes (ATTRIBUTE_1 through ATTRIBUTE_5). These are configured at the analysis level and coded into the analysis-specific parsing subroutine (BM_SLTC_DATA_PARSE_{analysis}) and named at the analysis level. This subroutine is discussed in detail in the Batch Configuration section below.

Example: ICP_OES uses 5 attributes: Wavelength, Dilution Factor, %RSD, Timestamp, and Interferences

## Aliquoting

Auto-aliquoting has been configured for some sample media that is shipped as one sample but separated into multiple sections in the lab. Upon adding such a sample to a batch using the Batch Creation workflow, the subroutine VWF_SLTC_TESTING_BATCH_CREATE checks the X_OCD_MONITORING.NUM_ALIQUOT field for the corresponding Method and Media and assigns additional testing to the sample, which is then aliquoted to child samples automatically.

## Components

Components on the main component interface should all be marked as Optional = “T” and Displayed = “F.” This is to prevent them from showing up on tests of different variations automatically.

Raw results should be marked as Uses Instrument = “T” if it is coming from an instrument file or Empower and Has Attributes = “T” if the analysis is configured to bring back attributes from Empower or the data file.

If using a batch to import file data, all final result calculations should be set to AutoCalculate = “F” in order to preserve the order of calculations between blank samples and field unknowns, since these may be tested out of order and the calculations are interdependent. If entering data by hand or using Empower, calculations may be set to AutoCalculate = “T.”

### Reportable Results

For field samples, only components that are marked as Reportable = “T” are returned to OIS via the response XML or included in the report e-mailed to CSHOs. Ensure that only final results are marked as Reportable = “T.” This must be done on the Variation table but may be done at the original Component table as well.

The Alias Name of the reportable component for OIS should match the Analyte Code (Ex for Beryllium in OSHA_1023, for the component Beryllium (Final) the Alias Name is 0365). This is found under the Properties menu.

For most final calculated results, a format calc similar to ICP_LOWER_LIMIT should be used to compare the reporting limit value to the calculated value and bracket it as necessary. See Reporting Limits above.

### Recovery

Recovery results are used for Standards, Controls, QCSMs, and RLSMs. They represent the fraction of analyte measured against the theoretical content. Example: If a sample is known to have 100mg analyte A on it and testing returns 99mg, the sample has 0.99 recovery. This ratio is unitless.

### Empower

For Empower peak components, the data type should be set to “Text” even though the result is a number. This is because when Empower does not detect a peak through its processing method, it returns the string “ND” instead of the number “0.” The resultant data type mismatch will trigger a runtime error.

# Batch Configuration

Batches are configured at the OSHA Method (T_ANALYSIS_METHOD) level. Infrequently, more than one method can be tested together – see Multiple Methods below.

## Required Configuration

It is recommended that you copy a previous Batch Test Template and rename it to match the new method for the following reasons:

- There are pre-configured fields to handle QC stock selection and opening the batch review window

- There will be an example of batch results you may need to add for your new method

The following components should be set for the new method:

- Batch Link

  - Batch Link of type Analysis Link Key to match ANALYSIS.NAME

- Batch Protocol

  - Contains required QC samples

- Name Prefix

  - Use the OSHA Method name

- Object Class

  - TEST

- Batch Type

  - Test Batch

- QC Stock

  - Must configure a QCSM Stock record and attach it here

- RL Stock

  - Must configure a RLSM Stock record and attach it here

- Configuration window

  - Variation – points to the QC analysis variation for the given method

  - Components required for data processing and review

    - Instrument File

    - Instrument Used (and additional components for additional instruments)

      - Match BATCH_COMPONENT.ALIAS_NAME to INSTRUMENT.INST_GROUP

      - Any instrument result marked as Required = “T” will prevent data parsing until it is entered

      - Calculation (auto-calc false):

        - instGroupName = SELECT BATCH_COMPONENT.ALIAS_NAME

        - GOSUB BC_INSTRUMENT_BROWSE

        - RETURN instrumentName

    - Stock Used

      - Match BATCH_COMPONENT.X_STOCK (under the Other Fields button) to STOCK.NAME

      - Any stock result marked as Required = “T” will prevent data parsing until it is entered

      - Calculation (auto-calc false):

        - GOSUB CALC_ING_SCAN_DIALOG

        - RETURN

    - Standards Used

      - As above with Stock Used

      - Additionally: BATCH_COMPONENT.ALIAS_NAME = QC_SAMPLES.NAME to match QCs used in the Batch standard protocol

    - QCSM Precision

      - One record per reportable recovery (F/T) on batched analysis

      - Calculation (auto-calc false):

        - targetElement = "{recovery component}"

        - GOSUB CALC_BATCH_QC_REC_PRECISION

      - Update the target element to match the correct recovery from the analysis components, example: “Be F/T”

## Batch Tests

Samples are tied to a batch at the Test level. This means that the TEST.BATCH field holds the batch name, and on the BATCH_OBJECTS table, BATCH_OBJECTS.OBJECT_ID = TEST.TEST_NUMBER. Samples are not tied directly to batches.

Tests must be of an analysis that matches the Batch Link field. For a new batch test template, you must configure a new Batch Link record.

## Multiple Methods

Typically, a Batch Template is intended to work for only one analytical method. Some analytical methods, however, are considered compatible and may be tested together. In this case, ensure that the ANALYSIS_METHODS table correctly pairs methods with a variation on the analysis and that variation has the “parent” method set. Additionally, on the T_ANALYSIS_METHOD table, the X_RELATED_METHOD field must be set to point from the child method to the parent method that matches the Analysis Variation method. Note that the ANALYSIS_METHOD table is a child table of ANALYSIS and the T_ANALYSIS_METHOD table is its own separate table. The ANALYSIS -> ANALYSIS_METHOD table is used to pair method with variation, while the T_ANALYSIS_METHOD holds the master data related to methods.

For example:

In Gas Chromatography (Analysis: GC), method OSHA_111 may be tested using the OSHA_5000_PASSIVE variation. The methods and analyses are configured:

Analysis Variation (OSHA_5000_PASSIVE) -> Method = OSHA_5000

Analysis Method -> Method = OSHA_111, Variation = OSHA_5000_PASSIVE

T_ANALYSIS_METHOD (OSHA_111) -> X Related Method = OSHA_5000

## Standards

Each batch uses a Batch Standard Protocol to automatically add standard sets to the batch. These standards are configured on the QC_SAMPLES table. Typically, a batch standard protocol includes a calibration blank (CB), several standards (STD_A, STD_B, etc), and an initial calibration verification control (ICV). Additionally, one or more continuing calibration verification  control (CCV) samples may be used.

### CCVs

CCVs are special cases for the OSHA batch analysis. Typically these control samples are run several times in the batch process, once for every 10 field samples tested. Due to the uncertain nature or variable nature of CCVs, it is necessary to treat these samples dynamically.

Only one sample should exist in the batch per QC type, so for CCVs if multiples are required, add additional analysis replicates to the sample and include them in the batch, ordered as necessary every 10 field samples.

## Manual Data Entry

In the case that data is entered into a batch by hand, no validation of the Batch Results table is performed at the batch level. The batch analyst and batch reviewer must ensure that these fields are entered before proceeding.

## Data File Batches

Any batch that requires parsing data from a file will require additional configuration to parse the file into an ingestible format. This process can also come with validation and logic to determine which results to import or to add result replicates as needed.

While file imports can be configured to happen automatically, we found that due to the complex logic OSHA requires on import that it was better to initiate the file import process manually.

The menu routine first checks to make sure that the Batch Result “Instrument File” is not already entered. If it is entered, the assumption is data has already been imported. Given no file already exists, it tries to run a dynamic subroutine name BM_SLTC_DATA_PARSE_{analysis name}. If no such subroutine exists, it will exit with an error. This subroutine must be configured in order to parse data.

The subroutine BM_SLTC_DATA_PARSE_{analysis name} must return the following context variables in order for data parsing to succeed:

- resultDataArr

  - A 2D array with no header that holds the following information (in order)

    - Sample Number, Test Number, Result Number, Result Name, Result Entry, Attribute 1, Attribute 2, Attribute 3, Attribute 4, Attribute 5

- reorderBatch

  - A Boolean. If true, it will attempt to reorder the batch samples based on a provided array batchOrderArr

- batchOrderArr

  - Only required if reorderBatch = TRUE

  - A 2D array with column 1 the batch object ID (Test Number) in the desired order

- stopParse

  - A Boolean. If true, will stop the parse and return the file to the instrument directory

- validationStr

  - A text variable that contains information about why the batch cannot be processed. Should be written to during the validateOnly loop

- wrongBatch

  - A Boolean. Used for automatic data processing, when true stops the batch processing similar to stopParse

MNU_BM_SLTC_DATA_PARSE provides the following context variables to the called subroutine for use:

- instrumentBarcode

  - The primary key for the INSTRUMENTS table for the instrument tied to the batch file

- Batch

  - Contains the batch name (primary key)

- batchSampsArr

  - A 1D array of batch sample numbers

- directory

  - The file path to the instrument data

- directoryProcess

  - The file path to the process directory in the instrument folder

- fileArr

  - 2D array of file names in the instrument data directory

- filename

  - The full path and name of the file to parse

- Method

  - The method associated with the batch

- Analysis

  - The analysis associated with the batch

### Validation

The automatic data file parser runs in two loops. The first loop is intended to be “validation only” where the data file is scanned for inconsistencies or errors and the user is prompted to fix issues before parsing. The second loop should contain all of the data commits, including result replication, CCV additions, etc.

Examples of things to validate against:

- Sample IDs in the file match the batch

- Number and type of standard and control samples match

- Data is present and of the correct data type

During the validateOnly = TRUE loop

- Use IF statements to check if commits should be made

- Write to the validationStr to make sure there is useful feedback to the user

## Empower Batches

In order to test Empower batches, there is additional configuration required on the instrument record and in the LabWare Empower window. Additional configuration is required in Empower itself.

### Instrument Configuration

For the OSHA use case, each instrument is configured to run a single Empower project. As a validation step in the Batch process, LabWare will check the instrument on the Batch Result tab and compare it to the project the Empower Interface has loaded. If the two do not match, the user will be prompted to switch projects to ensure the samples are tested using the correct Empower method.

In the INSTRUMENTS record, update INSTRUMENTS.PARAMETER_2_NAME to “EMPOWER PROJECT” and INSTRUMENTS.PARAMETER_2_VALUE to the full name of the project, for example: “GC_Default\GC4 – LabWare1”

### Empower

For any new Empower projects being transferred to LabWare, custom fields must be added to allow LabWare to identify the correct records.

- Open Empower and navigate to the Project Configuration Manager.

- Select "Configure the System" from the main Empower window

- Right click on the project you want to modify, select "Properties" and switch to the "Custom Fields" tab.

- Add 4 custom fields:

  - LimsSampleId (Field type: sample, type: text, width 20)

  - LimsTestId (Field type: sample, type: text, width 20)

  - PostedToLIMS (Field type: Result, type: text, width 5)

  - ReviewedInLIMS (Field type: Result, type: text, width 20)

### LabWare Empower Interface

LabWare uses field mapping from the LabWare Database to the Empower database to ensure accurate data transfer. In order to use a new Empower project (corresponding to a LabWare Method), the mapping must be added to LabWare. This has already been configured for other projects, so bringing new Empower projects on-line is as simple as opening a previous record and using Save As to transfer it to a new project. This must be done after the fields are added to the project in Empower as noted in the Empower section above.

- From the Labware Main Menu, select Options -> Empower Interface and log in

- Select the project used for MeCl2 (OSHA 1025)

- Open the Result Mapping Manager from the Project menu

  - Save-As the mapping to any new projects that will be used

  - Close the Result Mapping menu

- Open the Sample Set Method Mapping Manager from the Project Menu

  - Save-As the mapping to the same projects in section 3.1 above

  - Close the sample set menu

- Exit the Empower Interface and log out of Labware

A full table of configured maps is given below:

| Sample Set Mapping |  |
| --- | --- |
| LabWare SAMPLE or TEST Field | Empower Sample Set Method Field |
| SAMPLE.SAMPLE_NUMBER | LimsSampleId |
| TEST.TEST_NUMBER | LimsTestId |
| SAMPLE.TEXT_ID | SampleName |

| Result Set Mapping |  |
| --- | --- |
| LabWare SAMPLE, TEST, or RESULT Field | Empower Result or Peak Field |
| RESULT.ATTRIBUTE_3 | Result.CalibrationId |
| RESULT.ENTRY | Peak.Amount |
| RESULT.ATTRIBUTE_4 | Peak.CurveId |
| RESULT.ATTRIBUTE_2 | Result.Dilution |
| RESULT.NAME | Peak.Name |
| SAMPLE.SAMPLE_NUMBER | Result.LimsSampleId |
| TEST.TEST_NUMBER | Result.LimsTestId |
| RESULT.MILL_RES_NUM | Result.ResultNum |
| TEST.PARAMETER_VALUE | Result.SampleName |
| RESULT.ATTRIBUTE_5 | Peak.Response |

# Specific Analysis Configuration Notes

Each analysis works with the configuration in slightly different ways due to the needs of the analysis, which may include data validation or result replicate reporting, among others. This section discusses how each analysis was configured to handle test assignments and data parsing in ways that differ from the normal route.

## ICP_OES

## SILICA_XRD

## GRAV_PREWEIGH

## GRAV_POSTWEIGH